Eagle & Thistle Ltd — Installer Service Partner Policy (UK)

Scope: Requirements for onboarding, selection, training, quality, and commercial terms for Installer Service Partners (Solar PV, BESS, EV, Heat Pumps).

1) Role & Responsibilities

• Deliver design, installation, testing/inspection, commissioning and O&M to E&T standards and applicable UK regulations (BS 7671).

• Comply with CDM 2015 duties when applicable, and HSE Working at Height requirements.

• Provide complete handover documentation (as-builts, test sheets, commissioning reports, warranty forms, photos).

2) Selection Criteria — Qualifications & Experience

• Electrical competence: 18th Edition (BS 7671) and relevant City & Guilds (e.g., 2382, 2391).

• CPS membership (e.g., NICEIC or NAPIT) for self-certification under Part P where relevant.

• Technology credentials: MCS (MIS 3002 Solar PV; MIS 3005 Heat Pumps) where applicable; IET EESS competence for battery storage; EV charger competence per manufacturer/IET guidance.

• Safety: Evidence of RAMS, CSCS, IPAF/PASMA, First Aid; calibrated test equipment and documented tool control.

• Experience thresholds (minimum): 50 PV installs and/or 10 BESS and/or 20 EV chargers and/or 10 heat pumps (or equivalent demonstrable competence, with references).

• Insurance: Public & Product Liability ≥ £2m; Employers’ Liability (if applicable); Professional Indemnity recommended for design.

• References: Three recent projects with client contacts; pass due diligence and background checks.

3) Onboarding Process

• Application & document review (legal, insurance, certifications, RAMS, equipment calibrations).

• Technical interview & portfolio review; rate card submission.

• Conditional approval → compulsory training → first 3 jobs under enhanced QA audit; elevation to full approval after successful audits.

4) Training — Compulsory Professional Programme

• E&T Induction (0.5 day): brand standards, documentation, CRM, H&S expectations, QA process.

• Technical Modules (2–3 days total): Solar PV to MCS MIS 3002; Battery Storage per IET EESS Code of Practice; EV Charging; Heat Pumps to MCS MIS 3005; refrigerant safety (F-gas).

• Assessments: written (≥80% pass) + practical sign-off; annual CPD ≥16 hours; re-assessment every 24 months or after major standard updates.

• Site audits: first 3 jobs + random quarterly audits thereafter; failure triggers corrective training or suspension.

5) Quality & KPIs

• Defect rate <2% per quarter; return call-outs <3%; H&S incidents (RIDDOR) = 0; documentation completeness = 100%.

• Response SLAs: Emergency within 24h; Standard within 72h (unless otherwise contracted).

6) Commercial Terms — Bonds, Retention & Retainers

• Performance Bond: 5–10% of project value for projects > £50k, at E&T’s discretion based on risk (alternatively, parent guarantee).

• Retention: 5% of contract value — 2.5% released at Practical Completion; 2.5% at end of the Defects Liability Period (6–12 months).

• Framework Retainer (optional): for guaranteed response times/regional coverage; typical £500–£1,500/month per region, netted against call-outs or project work.

• Payment: Upon milestone acceptance and receipt of complete handover pack; variations require prior written authorisation.

7) Capacity Planning — Installer Caps by UK Region (max active partners)

| Region | Max Active Installers |
| --- | --- |
| London | 3 |
| South East | 3 |
| North West | 2 |
| West Midlands | 2 |
| Yorkshire & Humber | 2 |
| Scotland | 3 |
| Wales | 2 |
| East of England | 2 |
| South West | 2 |
| East Midlands | 2 |
| North East | 2 |
| Northern Ireland | 2 |

• Caps reviewed quarterly; exclusivity considered where a partner sustains KPIs, coverage, and customer satisfaction across 2 consecutive quarters.

• Bench partners may be onboarded (non-active) for surge capacity; activation requires training currency and insurance in force.

8) Compliance & Documentation Deliverables

• For each job: designs, RAMS, electrical test/inspection reports, commissioning certificates, warranties, photos, user manuals.

• Notify/self-certify where required (e.g., Part P) and register MCS jobs where applicable. Waste handled per WEEE/Environmental obligations.

9) Audit, Suspension & Termination

• E&T reserves the right to audit sites and documentation at any time. Material non-compliance may lead to corrective actions, suspension, or termination.

• Governing Law: England & Wales.

10) Acceptance

By accepting work orders or framework terms, the Installer agrees to this Policy and the Marketplace/Framework Agreement.